Jump to: Step-by-step About this Topic Tips Related Topics

# Step-by-Step

## Control Level

Step 1. Using the Navigation Panel on the left side of the screen, select the Department.

Step 2. Select the Instrument.

- Select the Control Name.

- Click Edit this Control at the top of the screen.

- Click a radio button to choose either summary data or point data.

- Select which levels you use for this QC product (Levels in use).

- Select the number of decimal places you need to enter.

- Scroll down and click Update.

## Analyte Level

- Using the Navigation Panel on the left side of the screen, select the Department.

- Select the Instrument.

- Select the Control Name.

- Select the Analyte.

- Click Edit this Analyte at the top of the screen.

- Select which levels you use for this analyte.

- Select the number of decimal places you need to enter.

- Scroll down and click Update.

# About setting up data entry type, test levels and decimals.

### Point Data

For Point data, toggle SPC rules on/off after you click Edit this analyte.

### Set Evaluation Mean and SD

Click the SET VALUES button to set your Evaluation Mean and SD.

### How to Delete

Click the red trash can icon to delete a control or an analyte.

### How to Archive

Toggle Archive analyte on/off to remove the data from submissions to Bio-Rad. Use Unarchive to restore to data submissions. See Archiving to learn how to use Archive to manage your data.

### Tips:

Enter one decimal place more than you include in patient reports.

Related Topics

Data entry Test levels

Edit an analyte

Add analytes to a control Summary data for single test Point data for single test Archive